## Slide 1: Acceptance Testing at MeVis of an C++ Application
Felix Petriconi
© 2015

## Slide 2: About Me
Study of electrical engineering in Bochum
Since 1994 working as a programmer
at the university (Turbo Pascal, C++)
education of high gifted children (PovRay, C++)
7 years as freelancer for Ericsson / Siemens- VDO, et al. (C/C++, Perl)
Since 2003 employed by MeVis Medical Solutions AG (C++, x86, Ruby)

## Slide 3: About the product
Reviewing workstation for mammography images
Manufactured for a single OEM customer
Medical product => Regulated Development Process
In the market since 2002
About 5000 installations world wide
About 50% market share in that segment

## Slide 4: Our product

## Slide 5: About the application
Deployed as standalone / client-server
OS: Windows 7 / Server 2008 R2
C++ / Qt application
2,5 million lines of code

## Slide 6: About the technical challenges
Up to 2.5 GB uncompressed pixel data for a single patient
Up to 400 patients per day
8-16 bit grayscale images on 2 * 5MP 10 bit grayscale displays
Of the shelve workstations
No special HW possible
Each case-change, image change < 1s
Huge variety of hospital setups

## Slide 7: About the development problems from the past
At 2011 about 10,000 requirements in a requirement management tool
All requirements had to be traced to a test case
Only paper scripts existed to test the application
Each release test phase took up to 8-12 weeks

## Slide 8: Our way out
Let machines perform dumb work
Use people for intelligent work
Automated testing
UnitTests (GoogleTest)
UI Tests (TestComplete)
And new
Acceptance Tests

## Slide 9: Where to inject Acceptance Test
Data Access Layer
Business Layer
Application Layer
Presentation Layer
Test Interface

## Slide 10: Acceptance Tests
Specification by Example with Cucumber
Given the login dialog is visible
When a registered user provides username and password
Then the user is logged in
And the administration module is available

## Slide 11: Which Cucumber binding?
Native C++ binding (cukebins) could not be used, because our application runs with multiple processes on multiple machines.
=> Cucumber with Ruby binding was the natural choice

## Slide 12: Acceptance Tests with Cucumber
Started very promising
But the tool Cucumber is not capable of handling nested contexts inside a test
Required intensive collaboration with Product Owner
=> New approach with RSpec (Predecessor of Cucumber)

## Slide 13: Setup
CukeCenter
(C++)
DBInterface
Administration
Viewer
Preparer
SCP
DB
IPC
RSpec
(Ruby)
XMLRPC
IPC

## Slide 14: Let’s write a simple test
describe ‘Login mechanism’ do
context ‘When the login dialog is available’ do
before (:all) do
administration.waitUntilLoginIsVisible()
end
context ‘And the user logs into the application’ do
before (:all) do
administration.login(“user1”, “password4user1”)
end
it ‘Then the administration module is available for the user’ do
administration.waitUntilAdministrationIsVisible()
end
end
end
end
Representative of Administration process
Test method in Administration process
Parameters of login method

## Slide 15: Feaze the Ruby part …
For each process a representative Ruby object exists
Ruby’s method_missing feature is used to “generate” methods on the fly. So there is no need to specify all methods manually

## Slide 16: XMLRPC protocol
<methodCall>
<methodName>cukecommand</methodName>
<params>
<param><value><string>ADMISTRATION</string></value></param>
<param><value><string>login</string></value></param>
<param><value><i4>60</i4></value></param>
<param><value>
<array><data>
<value><string>user1</string></value>
<value><string>password4user1</string></value>
</data></array>
</value></param>
</params>
</methodCall>
Process name
Method name
Array with all method parameters
Command
timeout (s)

## Slide 17: CukeCenter
CukeCenter
RSpec
XMLRPC
<methodCall>
<methodName>scrcukecommand</methodName>
<params>
<param><value><string>ADMISTRATION</string></value></param>
<param><value><string>login</string></value></param>
<param><value><i4>60</i4></value></param>
<param><value>
<array><data>
<value><string>user1</string></value>
<value><string>password4user1</string></value>
</data></array>
</value></param>
</params>
</methodCall>
Process lookup
Convert XMLRPC to application specific binary IPC protocol
Limited list of supported types: string, int, double, bool, array, hash
Any nested combination is possible

## Slide 18: CukeInterface
CukeCenter
Administration
CukeInterface
Each process has a CukeInterface instance
Special IPC callback
Starts to parse the binary stream and extracts method name
Lookup of registered test method
Calls method with remaining in-stream (Source) and returns new values in out-stream (Sink)
IPC
Function 1
Function 2
Function 3

## Slide 19: Application test interface
class AdminstrationInterface
{
public:
void userLogin(const std::string& userName,
const std::string& password);
void logout();
CommandResult waitUntilAdministrationIsVisible();
static AdministrationInterface s_interface;
};

## Slide 20: Execution chain in application
CukeInterface
Application Interface
Glue Code
Generated from application interface header file

## Slide 21: Glue Code
// defining the test function
void login(const Source& source, Sink& sink);
// registering the function and its name with a registrar
CommandRegistrar(login, "login");
// implementation of the test function
void login(const Source& source, Sink& sink)
{
auto userName = createFromSource<std::string>(source);
auto password = createFromSource<std::string>(source);
s_interface.userLogin(userName, password);
}
All is generated by Code Generator

## Slide 22: When to proceed?
Many things in the application happen asynchronously
Add sleep call into the test script
Callback from the application into the test could be an option, but would make the application depend on the test
CukeInterface polls with short interval (100ms) until a certain condition is reached or the command timed out

## Slide 23: Test Functions
void AdminstrationInterface::userLogin(const std::string& userName,
const std::string& password);
CommandResult AdminstrationInterface::waitUntilAdministrationIsVisible();
enum class CommandResult
{
Success, // when the condition is fulfilled
Failed, // when the condition cannot be fulfilled (anymore)
Pending // when the condition is not yet fulfilled
};
Synchronous Call
Asynchronous Call
Which is identified by return value of the test function

## Slide 24: Asynchronous Test Function
CommandResult
AdminstrationInterface::waitUntilAdministrationIsVisible()
{
if (administrationModule().isVisible())
{
return CommandResult::Success;
}
return CommandResult::Pending;
}

## Slide 25: Current Test Status
UnitTests are integrated into the build process
Complete continuous test suites run takes 1h30
Release test cycle takes 2 weeks (main focus is now on exploratory tests)
 | 2011-03 | 2014-03 | 2015-09
UnitTests | 603 | 4588 | 5413
RSpec Tests | 0 | 1851 | 4052

## Slide 26: Reference
Continuous Delivery; Jez Humble & David Farley; Addison Wesley, 2010
Continuous Integration; Stephen M. Matyas, Nicholas Schneider, Mark Voit & Paul Duvall; Addison Wesley, 2007
Clean Coders – Screen casts by Robert C. Martin
Effective Programming with Components - Screen casts by Alexander Stepanov
Cucumber
RSpec
GoogleTest
Why Most UnitTesting is Waste and Segue by James O. Coplien

## Slide 27: Contact
Felix Petriconi
Web: http://petriconi.net
Mail: felix@petriconi.net
Twitter: @FelixPetriconi
GitHub: https://github.com/FelixPetriconi

## Slide 28
Feedback is always welcome!